CITY OF TOMBALL
STANDARD SPECIFICATION
SUMMARY OF WORK



Section 01110


SUMMARY OF WORK

******************************************************************

This text gives standard City of Tomball provisions, as they may be appropriate to an individual Project. Determine Project requirements from City authorities in editing this text, and provide additional text as appropriate.
*******************************************************************

PART 1    G E N E R A L

1 SECTION INCLUDES

1 Summary of the Work including work by City, City furnished products, Work sequence, future Work, Contractor use of Premises, and City occupancy.

1 WORK COVERED BY CONTRACT DOCUMENTS

1 Work of the contract is for the construction of [                                  ].

1 CASH ALLOWANCES

1 Include the following specific Cash Allowances in the Contract Price under provision of General Conditions Paragraph 3.9:

1 (List Cash Allowances as appropriate.)
1 CITY FURNISHED PRODUCTS

1 Items Furnished by City for Installation and Final Connection by Contractor:  Water meter.

1 Contractor's Responsibilities:

1 Arrange and pay for product delivery to site.

1 Receive and unload products at site; jointly with City, inspect for completeness or damage.

1 Handle, store, install, and finish products.

1 Repair or replace damaged items.

***********************************************************

Use the following Paragraph for lump sum Projects.  List Cash Allowances  in Document 00405 - Schedule of Unit Prices for unit price Projects.
***********************************************************

1 WORK SEQUENCE

1 Construct Work in phases during the construction period, coordinate construction schedule and operations with City:

1 Phase 1:  [                         ].

1 Phase 2:  [                         ].

1 Phase 3:  [                         ].

1 Coordination of the Work:  Refer to Section 01312 - Coordination and Meetings, and Section 01230 - Alternates

1 CONTRACTOR USE OF PREMISES

1 Comply with procedures for access to the site and Contractor's use of rights-of-way as specified in Section 01145 - Use of Premises.

1 Construction Operations:  Limited to City's rights-of-way provided by City.

1 Utility Outages and Shutdown:  Provide notification to the City and private utility companies (when applicable) a minimum of 48 hours, excluding weekends and holidays, in advance of required utility shutdown.  Coordinate all work as required.

1 STREET CUT ORDINANCE

1 Excavations on or under pavement in City’s Right-of-Way must have a permit.  Comply with City of Tomball, Texas Ordinance No. _______, an ordinance amending Chapter ____ of the Code of Ordinances, Tomball, Texas, relating to excavating on the Public Right-of-Way.

1 Comply with New Pavement Repair Details Drawing No. ______ sheets _____ and Street Cut Pavement Replacement, Drawing No. _______ sheets ______.

1 Quantities are included for the pavement replacement in accordance with the various specification sections that identify method of pavement.

1 WARRANTY

1 Comply with warranty requirements in accordance with Document 00700 - General Conditions.

PART 2    P R O D U C T S  -  Not Used

PART 3    E X E C U T I O N  -  Not Used


END OF SECTION


01110-3

02-01-08

